## Slide 1
A, b, c’s of Neutron Spin Echo

## Slide 2
How did I get here
PhD 1991
University of Warwick
Crystal Growth
Postdocs (1996-1999)
McMaster University
BD Gaulin
Los Alamos
In John Sarrao’s Lab
Crystal Growth
Neutron and Muon studies
Staff positions (1999-2013)
NRC, NIST [BNL, Indiana U]
Neutron Scattering Scientist
Staff positions (2013/18)
NSRRC
Built/Commissioned 3-axis
Back to USA
Via SSLab in China (2019/2020)

## Slide 3
My Path
1996
2002
2013
1999
2008
Fellow
2018
2019
2023
2020
AAAS
Fellow
2026
1998
Notes: On a timeline,
Highlight a few other events that highlights my standing in the community
1st – Fellowships at IOP and APS
2nd RMP in disordered materials and Nature reviews Physics in QENS.
As mentioned earlier, my academic life stated in the UK, at Warwick University, recently ranked the 7th best physics department in the UK. I did postdocs at McMaster and Los Alamos before deciding that Neutron Scattering, and the National Lab environment was best for me.
I took a staff position at the NRC in 1999 when a new research reactor in Canada looked promising.
In 2002 I joined BNL, stationed at NIST leading the Brookhaven-NIST Scientific Alliance. This was renewed once by BES but didn’t go further and I changed from TAS and measuring phonons and magnons to NSE.
This quasielastic technique was relatively new in the USA and I was charged to build a community. At the end of my time at NIST, I led a $2M project to relocate and upgrade this machine, which required working with a diverse group of people and we successfully completed the project on time and under budget resulting in a much improved instrument ~4times more efficient and opening up more research possibilities to the community.
An opportunity arose next came by to lead a mini-neutron group in Australia for Taiwan. Here I had ~12 direct reports, operated a triple axis, but had team members on 4 other machines. I managed a neutron promotion office in Taiwan and had a Research Professorship at NTU, their best academic institute.
Before Joining ORNL in 2020, I did a short stint in China where I was working with ex ORNL people to build up a Materials laboratory with an eye on using the neighbouring Chinese Spallation Source.
Over this 20+ year career, although employed to assist users, I always found a way to maintain a research program, so I found money, mentored students, and drove a science program in disordered magnets.
On this timeline I also mark two major recognitions of my science productivity and service to the community, first elected as a fellow of the IOP in the UK and then a few years ago at the APS, for my outstanding contributions to the understanding of frustrated magnetism using neutron beams, publishing efforts and service to the APS. Another sign of my standing in the community was being commissioned to write a RMP in Nature rev Physics

## Slide 4
FECS
EiC
Professional Leadership
1996
2002
1999
HFM 2016
2011
2006
Crystal
Growth
Initiative
Rebuild the
Magnetic neutron
scattering program
Lead the
Brookhaven/NIST
Alliance
(Outstation)
Build a
NSE community
& developed
Magnetic Echo in USA
Neutron Scattering Group Leader in Australia
Built a
Quantum material lab @SSL
Frustrated Magnetism
@IIP Brazil
NS school
in Brazil
2012
2018
2019
2013
Notes: More important for this position is my previous Leadership roles
From the beginning, leading small teams around an instrument
But also organizing international conferences, that are not always local, Great communication skills
EiC for 7 years. Lead the journal through choppy waters dealing with JIF and open access issues
Most recently I have focused on CLIMATE issues. helped establish a unit of the APS focusing on Early Career Scientists and
then establishing the Inclusion, Diversity, and Equity Alliance by bringing together EDI groups together and recognizing best practices and relaying them to people hoping to establish such groups in their institute.
More important for this position is my previous Leadership roles. From rebuilding neutron programs at Chalk River with 1-2 postdocs and technical support, to creating a new programs at NIST and Australia (5-15 direct reports), Team building and strong collaborative efforts were important for these positions. ~2 years ago, I joined MSTD at a difficult time, but I believe I have lead the Section very well, kept moral as high as possible and enabled researchers to get on with what they do best, and want to do.
Outside of my employment, I ran a section and was eventually the Editor in Chief of the Journal of Physics Condensed Matter, working closely with the publishing house and distinguished academics to position the journal for an ever changing academic world, increase its reputation in the community and satisfy the publishing house desires.
I’ve also organised workshops, schools and conferences. Not always locally, requiring excellent team work to make sure things proceed smoothly.
More recently, I’ve volunteered considerably at the APS. Working with the APS staff and the community I was involved in the creation of the Forum for Early Career Scientists, to support researchers from the postdoctoral times to their first “real” job ~~ up to tenure.
I was awarded an APS IF grant and helped establish IDEA, a wellness and diversity based group, brings together EDI groups from around the country and suggests best practices to those looking to set up their own local group.

## Slide 5
FECS
EiC
Personal Highlights
1996
2002
2013
1999
HFM 2016
Frustrated Magnetism@IIP Brazil
IDEA
2006
Crystal
Growth
Initiative
Magnetic neutron
scattering program
Lead the
Brookhaven/NIST
Alliance
NSE & develop
Magnetic Echo in USA
Neutron Scattering Group Leader in Australia
Built a
Quantum material lab in China
2011
2012
2019

## Slide 6
Network of Mentors
Don Paul
BD Gaulin
& many Students
Dan Neumann and
many @ NCNR
Georg Ehlers

## Slide 7
Enough about
me
Back to the Incredible Neutron

## Slide 8
Neutron Spin Echo
Another form of Quasi-elastic scattering
made popular by Jülich Scientists

## Slide 9
Simple Take Home
Time (ns)
NG-5 NSE

## Slide 10
Nature Reviews Physics, 2, 103 (2020).
New, Easy to read start
Nat Rev Methods Primers 6, 54 (2026).

## Slide 11
Deeper Reading
Stephen Lovesey: Theory of Neutron Scattering from Condensed Matter, Vol. 2, Clarendon Press, Oxford, 1986.
F. Mezei (Ed.): Neutron Spin-Echo, Lecture Notes in Physics 128, Springer, Heidelberg, 1980.
F. Mezei, C. Pappas, T. Gutberlet (Eds.): Neutron Spin-Echo Spectroscopy (2nd workshop), Lecture Notes in Physics 601, Springer, Heidelberg, 2003.
D. Richter, M. Monkenbusch, A. Arbe, and J. Colmenero, “Neutron spin echo in polymer systems” Adv. in polym. Sci, 174, 1 (2005).
C. Pappas, G Ehlers and F. Mezei, "Neutron-Spin-Echo Spectroscopy and Magnetism” Neutron Scattering from Magnetic Materials, Chapt 11 p/521 (2006
B. Farago, “Recent developments and applications of NSE in soft matter” Curr. Opin. Colloid Interface Sci., 14, 391 (2009).
I. Hoffmann, “Neutrons for the study of dynamics in soft matter systems” Colloid. Polym. Sci., 292, 2053 (2014).

## Slide 12
HoMnO3
URu2Si2
Glucose
Pr0.5Ca0.5MnO4

## Slide 13
Excitation: the neutron interacts with an oscillation which has a finite energy transfer
c.f. Natural Modes, SHO
Relaxation: the neutron interacts with the system which finds a new equilibrium state.
c.f. Diffusion, Brownian Motion
inelastic scattering
elastic scattering
quasi-elastic scattering
elastic scattering
Elastic

## Slide 14
Time domain measurements
Quasielastic scattering or relaxation processes are well studied in the time domain
  Energy domain Time domain
FT
FT

## Slide 15
How can we do better? TIME
Higher flux,
Quicker experiment
BUT, is you approach the
Instrument resolution (Slower)
interpretation gets difficult
Low flux,
Slow experiment
BUT, better E- resolution allows
us to measure (Slower) things
Resolution
I(Q,t)/I(Q,0)
Time (ns)
Resolution

## Slide 16
Mathematically more basics
I(Q,t)/I(Q.0)
I(Q,t)/I(Q.0)
I(Q,t)/I(Q.0)
Quasielastic scattering or relaxation processes are well studied in the time domain

## Slide 17
Time domain measurements
  Energy domain Time domain
F. Mezei, G Drabkin, and A Ioffe, Polarimetric neutron spin echo, Physica B, 297 (1) 9-13 (2001)

## Slide 18
So Far, you have learnt
102 meV
100 meV

## Slide 19: The Idea of Neutron Spin Echo
Traditional Instruments – use collimators, monochromators, choppers etc to define both ki and kf in order to define E and Q accurately
NSE – measure the difference between appropriate components of ki and kf (measures the energy change)
NSE – use the neutron’s spin polarization to encode the difference between components of ki and kf -- up next
NSE – can use poor monochromatization to increase signal intensity, while maintaining great energy resolution
NSE Breaks the Relationship between Intensity & Resolution

## Slide 20: Neutron Precession
Neutron Properties
Mass, mn = 1.67510-27 kg
Spin, S = 1/2 [in units of h/(2)]
Gyromagnetic ratio  =gnn/[h/(2)] =
1.832108 s-1T-1 (29.164 MHz T-1)
In a Magnetic Field
• The neutron experiences a torque from a magnetic field B perpendicular to its spin direction.
• Precession with the Larmor frequency:
B
L
S
N
S

## Slide 21: Spin in a Field
Torque

## Slide 22: Please use your imagination
Velocity

## Slide 23: Please use your imagination
SAMPLE

## Slide 24: Spin Echo Principle
Field
Integral
from Solenoids
v. strong
wavelength
dependence
J.S. Gardner, G. Ehlers, A. Faraone, and V. Garcia-Sakai “High-resolution neutron spectroscopy using backscattering and neutron spin-echo spectrometers
in soft and hard condensed matter” Nature Reviews Physics, 2, 103 (2020).

## Slide 25
Main Components

## Slide 26: SINGLE Wavelength ELASTIC Scatter

## Slide 27: SINGLE Wavelength Scatter
Elastic on black,
Inelastic in red

## Slide 28
flipper (π or π/2)
=

## Slide 29
Standard Detector, BUT you can imagine bigger

## Slide 30
Wide Angle (30 deg)

## Slide 31
WASP / Expasne
USA Dream
120 deg
140 deg

## Slide 32: What do we actually do?
Phase Coil

## Slide 33
polarisation
Norm. In SF

## Slide 34
Slower Motion resolved
Spin Waves
Lattice Vibrations
Hydrogen modes
Molecular Motion
Diffusion Modes
Tunneling Spectroscopy
Glassy Dynamics
Aggregate motion in Polymers and Biological Systems
Now some Science

## Slide 35
NSE Science
Coherent Dynamics
  Density Fluctuations corresponding to some SANS pattern
  Diffusion
  Shape Fluctuations (Internal Dynamics)
  Liquid and Glassy Systems
  Polymer Dynamics
Incoherent Dynamics
  Single particle
  motion of H atoms
Paramagnetic Dynamics
  Spin Glasses

## Slide 36
NSE Soft matter Science
Coarse grained polymer models, such as the bead-spring model
Sub domain motion
fluctuations with respect to each subdomain of a large protein
Microemulsions or biologically relevant membranes.
Membrane height fluctuations

## Slide 37
Polarized Analysis
Rem. Barry on Wednesday
J Phys Cond Matt 18 R231 (2006)
Sci Reports 8 16400 (2018)
Not to be encouraged, but
is at the heart of NSE
m-Toluidined9

## Slide 38
Mezei, Solid State Comm.
45, 411 (1983)
Pappas, Solid State Comm.
68 054431, 2003
Disordered systems
Like
Glasses

## Slide 39
RM Pickup et al., PRL 102 097202 (2009)
Why we still need to do better

## Slide 40
Glass forming Liquids
Multiple relaxation processes.
P. Luo … A. Faraone and YZ, Nature Comm. 13 2092 (2022)

## Slide 41
Electrolytes
Incoherent signal weak, Q dependence Critical
ChemSusChem, Vol 11, 3512-3523
C Do, et al PRL 111 018301 (2013)
Understanding the mechanisms of ionic diffusion is important for the design of new energy storage materials

## Slide 42
Cell functionality
Cholesterol regulates critical cell functions, including antibiotic resistance, by controlling how the membranes bend or withstand mechanical stresses.
MD used to interpret the data
S Chakraborty et al., PNAS 117 (36) 21896-21905 (2020).

## Slide 43
– Q and t dependence proved Nature paper wrong
J Phys Cond Matt 15 L9 (2003)
Spin ice

## Slide 44
Thank you

## Slide 45
EXTRAS

## Slide 46
Spin Liquid – Very Dynamic never flat line
JSG et al., Phys Rev B, 68, 180401 (R) 2003

## Slide 47
J Phys Cond Matt 20 235206 (2008)
Spin ice – Combine BS and a.c susceptibility

## Slide 48
J Phys Cond Matt 18 R231 (2006)
Partial Order
– flat but not 1, still faster dynamics

## Slide 49
The Future – Tof overlaps with NSE
Fantastic Background and calibration of two instruments,
incredible error bars.

## Slide 50
The NSE Spurions - Direct Echo

## Slide 51
For those still awake
NSE studies dynamics in the ps to ns time range (4 orders of magnitude in time!), over lengthscales from tens of Ås to fractions of an Å.
It covers the largest lengthscales and longest timescales of all neutron spectrometers.
NSE works in the time domain. The instrumental resolution can be simply divided out.
Full PA analysis - isotope effect (H/D) and/or magnetism
NSE works by encoding the neutron speed in its spin state. Do not depolarize the neutron beam.
NSE is count limiting. Large samples and/or significant scattering intensities are required.