## Slide 1: 1” X 1MM SAPPHIRE WINDOWS Ø3” I.D. ANULAR OVC
CCR-026 BL4A SINGLE STAGE SUMITOMO 20k CCR
2” X 2MM SAPPHIRE WINDOWS 3” INNER SQUARE OVC
6X Ø.201 THRU ON A Ø2.500” B.C. EQUALLY SPACED MOUNTING HOLES FOR #10-32 UNF-2B SCREW

## Slide 2
CCR-026 BL4A SINGLE STAGE SUMITOMO 20k CCR
INSTALLED AT BEAM LINE

## Slide 3: CCR-026 BL4A SINGLE STAGE SUMITOMO 20k CCR CROSS SECTION VIEW OF ANULAR OVC OPTION
Ø3.25” ID
B.C.
10 PINS FOR
VDC CONTROL
CAPABILITY
CALIBRATED
CERNOX FOR
SAMPLE MOUNT
CALIBRATED
CERNOX FOR
TEMP. CONTROL
100W CARTRIDGE
HEATER
QUICK SLIP ON
OVC CAN

## Slide 4: CCR-026 BL4A SINGLE STAGE SUMITOMO 20k CCR CROSS SECTION VIEW OF ANULAR OVC OPTION
3” SQUARE INNER
B.C.
10 PINS FOR
VDC CONTROL
CAPABILITY
CALIBRATED
CERNOX FOR
SAMPLE MOUNT
CALIBRATED
CERNOX FOR
TEMP. CONTROL
100W CARTRIDGE
HEATER
QUICK SLIP ON
OVC CAN