## Slide 1: HOT-024 Commissioning Report
High Temperature Team
Sample Environment
Bekki Mills
July 2018

## Slide 2: Summary of Project and Commissioning testing
This furnace development is part of an approved mid-level investment to make 3 new furnace systems for the sample environment group.
HOT-024 is a vacuum furnace to be used at SNS
The addition of this furnace will alleviate over-allocation of current resources
Performed standard test script on the furnace once it was determined that acceptable tuned PID values were set.

## Slide 3: PID Values for HOT-024

## Slide 4: Standard test script overall test

## Slide 5: Ramp at 5C/min to 1600C, then “rapid” cooldown

## Slide 6: Ramp to 1600C in 50C steps with rapid cooldown

## Slide 7: Ramp at 5C/min to 1600C, cooldown in 50C steps

## Slide 8: Ramp at 5C/min to 1600C, and rapid cooldown

## Slide 9: Conclusion
HOT-024 has tested satisfactorily and is fully commissioned and ready for use in the user program at SNS.